Product specific questions for GRIHA Product Catalogue

Transformers

- Please elaborate on the range of transformers that you wish to enlist.

- Please provide test results which demonstrate compliance of your transformer with the permissible loss values on zero load, partial (50%) load and full (100%) load indicating the compliance with IS: 1180 (Part 1): 1989 and with all amendments as on date. Please submit 3rd party test results for the same.

- BEE star label certificate for the product.

- Please provide the relevant documents demonstrating that the loss measurement was done using calibrated digital meters of class 0.5 or better accuracy and certified by the manufacturer.

- Please provide the BIS product certification.

Please attach all necessary documents, like BIS compliance document, product brochure, independent laboratory testing etc. along with the completed questionnaire.

Note: The information must be verified by a 3rd party accredited professional/agency and the tests must be carried out by an accredited laboratory.